## Title Page
EMS
| Title | Register of Ozone Depleting Gases
| Reference | EGM-HSE-EMR-06
| Date of latest update | 7th July 2021
| Revisor | Christine Galea
| Reviewers | Matthew Grech
Revision History
|  | Date | Change |  | Revisor
|  | July 2021 | General update |  | CG
|  | November 2020 | Updated following clarifications from MRA |  | CG
|  | May 2020 | General update |  | CG
References |  | D4-11-RD-009 Register of Ozone Depleting Substances and Fluorinated Greenhouse Gases
Reganosa - Fluorinated GHG Equipment List
BUMI FSU Armada LNG Mediterrana Gases Inventory

## F gases
Register of Ozone Depleting Gases
Equipment Code | Type of Equipment | Use | Charge |  | Type of Substance | Type of System (hermetically-sealed systems, fixed systems or mobile systems)
|  |  | Kg | CO2(eq) in t
EQ 1 | Panasonic U-8ME1E81 | UYC (Admin building) Outdoor unit | 6.5 | 13.572 | R-410A | Fixed
EQ 2 | Panasonic U-8ME1E81 | UYC (Admin building) Outdoor unit | 6.5 | 13.572 | R-410A | Fixed
EQ 3 | Panasonic U-10ME1E81 | UAB (GIS building) Outdoor unit | 6.8 | 14.198 | R-410A | Fixed
EQ 4 | Panasonic U-10ME1E81 | UAB (GIS building) Outdoor unit | 6.8 | 14.198 | R-410A | Fixed
EQ 5 | Panasonic U-10ME1E81 | UYC (Admin building) Outdoor unit | 6.8 | 14.198 | R-410A | Fixed
EQ 6 | Panasonic U-12ME1E81 | UST (Workshop) Outdoor unit | 6.8 | 14.198 | R-410A | Fixed
EQ 7 | Panasonic U-14ME1E81 | UBA11 (GT electrical building) Outdoor unit | 8.5 | 17.748 | R-410A | Fixed
EQ 8 | Panasonic U-14ME1E81 | UBA11 (GT electrical building) Outdoor unit | 8.5 | 17.748 | R-410A | Fixed
EQ 9 | Panasonic U-16ME1E81 | UBA11 (GT electrical building) Outdoor unit | 8.5 | 17.748 | R-410A | Fixed
EQ 10 | Panasonic U-16ME1E81 | UBA11 (GT electrical building) Outdoor unit | 8.5 | 17.748 | R-410A | Fixed
EQ 11 | Panasonic U-16ME1E81 | UBA12 (ST electrical building) Outdoor unit | 8.5 | 17.748 | R-410A | Fixed
EQ 12 | Panasonic U-16ME1E81 | UBA12 (ST electrical building) Outdoor unit | 8.5 | 17.748 | R-410A | Fixed
EQ 13 | Panasonic U-16ME1E81 | UYC (Admin building) Outdoor unit | 8.5 | 17.748 | R-410A | Fixed
EQ 14 | Panasonic U-20ME1E81 | UBA12 (ST electrical building) Outdoor unit | 9 | 18.792 | R-410A | Fixed
EQ 15 | Panasonic U-20ME1E81 | UBA12 (ST electrical building) Outdoor unit | 9 | 18.792 | R-410A | Fixed
EQ 16 | Panasonic U0200PE1E8 | UYC (Admin building) Outdoor unit | 5.3 | 11.066 | R-410A | Fixed
EQ 17 | Panasonic U0200PE1E8 | UYC (Admin building) Outdoor unit | 5.3 | 11.066 | R-410A | Fixed
EQ 18 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 19 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 20 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 21 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 22 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 23 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 24 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 25 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 26 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 27 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 28 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 29 | Toshiba RAV0SP1604AT8-E | UBA14 (GT electrical & control modules) Outdoor unit | 3.1 | 6.473 | R-410A | Fixed
EQ 30 | LG D18RL.UL2 | CEMS Container (HRSG 51, 52, 53) Outdoor unit | 1.15 | 2.401 | R-410A | Fixed
EQ 31 | LG D18RL.UL2 | CEMS Container (HRSG 51, 52, 53) Outdoor unit | 1.15 | 2.401 | R-410A | Fixed
EQ 32 | LG D18RL.UL2 | CEMS Container (HRSG 51, 52, 53) Outdoor unit | 1.15 | 2.401 | R-410A | Fixed
EQ 33 | LG D18RL.UL2 | CEMS Container (HRSG 51, 52, 53) Outdoor unit | 1.15 | 2.401 | R-410A | Fixed
EQ 34 | LG D18RL.UL2 | CEMS Container (HRSG 51, 52, 53) Outdoor unit | 1.15 | 2.401 | R-410A | Fixed
EQ 35 | LG D18RL.UL2 | CEMS Container (HRSG 51, 52, 53) Outdoor unit | 1.15 | 2.401 | R-410A | Fixed
EQ 36 | Kensai KEX-12TAO | Stores Office | 0.5 | 0.3375 | R32 | Fixed
EQ 37 | Airwell AW-YKD024-H91 | Consumables Stores | 1.6 | 1.08 | R32 | Fixed
EQ 38 | Airwell AW-YKD018-H91 | 1st Level Stores | 1 | 0.675 | R32 | Fixed
EQ 39 | Airwell AW-YKD018-H91 | 1st Level Stores | 1 | 0.675 | R32 | Fixed
EQ 40 | Airwell AW-YKD018-H91 | Electrical W/Shop | 1 | 0.675 | R32 | Fixed
EQ 41 | Airwell AW-YKD018-H91 | Electrical W/Shop | 1 | 0.675 | R32 | Fixed
EQ 42 | Kalte Klima XMBY 1413PC | CWP2 unit 1 | 9.5 | 19.8357 | R410A | Fixed
EQ 43 | Kalte Klima XMBY 1413PC | CWP2 unit 2 | 9.5 | 19.8357 | R410A | Fixed
EQ 44 | Daikin R2QSG100L8Y1B | CWP2 trafo unit 1 | 2.9 | 6.0551 | R410A | Fixed
EQ 45 | Daikin R2QSG100L8Y1B | CWP2 trafo unit 2 | 2.9 | 6.0551 | R410A | Fixed
EQ 46 | Samsung AR18JSFNCWKX | Beside 50UBA11 | 1.15 | 2.4012 | R410A | Fixed
EQ 47 | Samsung AR18JSFNCWKX | Beside 50UBA12 | 1.15 | 2.4012 | R410A | Fixed
EQ 48 | Airwell-YKd012-H91 | Contractor Compound | 0.5 | 1.044 | R32 | Fixed
EQ 49 | Airwell-YKd012-H91 | Contractor Compound | 0.5 | 1.044 | R32 | Fixed
EQ 50 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 51 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 52 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 53 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 54 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 55 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 56 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 57 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 58 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 59 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 60 | Airwell AWAU -YKD012 -H11 | ESBI office cabins | 0.95 | 1.9836 | R410A | Fixed
EQ 61 | Gree GPH12AJ-K3NNA1D | ESBI office cabins | 1.02 | 2.1298 | R410A | Mobile
EQ 62 | ASH055DNM3M | MV Regas-outdoor | 463 | 966.744 | R410A | hermetically-sealed systems, fixed systems
EQ 63 | CIH055DNM3M | MV Regas-indoor | 242 | 505.296 | R410A | hermetically-sealed systems, fixed systems
EQ 64 | ASH070DNM3M | LV Regas-outdoor | 500 | 1044 | R410A | hermetically-sealed systems, fixed systems
EQ 65 | CIH070DNM3M | LV Regas-indoor | 259 | 540.792 | R410A | hermetically-sealed systems, fixed systems
EQ 66 | ASH035SNM3M | MV CWSB-outdoor | 239 | 499.032 | R410A | hermetically-sealed systems, fixed systems
EQ 67 | CIH035SNM3M | MV CWSB-indoor | 150 | 313.2 | R410A | hermetically-sealed systems, fixed systems
EQ 68 | ASH070DNM3M | LV CWSB-outdoor | 500 | 1044 | R410A | hermetically-sealed systems, fixed systems
EQ 69 | CIH070DNM3M | LV CWSB-indoor | 259 | 540.792 | R410A | hermetically-sealed systems, fixed systems
EQ 70 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 71 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 72 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 73 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 74 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 75 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 76 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 77 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 78 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 79 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 80 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 81 | LG AR12MSFPEWQX | Regas office | 10.56 | 22.0493 | R410A | hermetically-sealed systems, fixed systems
EQ 82 | LG A8UW48LFA0 | Control room building- Corredor | 4.4 | 9.1872 | R410A | hermetically-sealed systems, fixed systems
EQ 83 | LG MS12SQ | Control room building- First Aid Room | 4.4 | 9.1872 | R410A | hermetically-sealed systems, fixed systems
EQ 84 | LG MS12SQ | Control room building-Office Room | 4.4 | 9.1872 | R410A | hermetically-sealed systems, fixed systems
EQ 85 | LG MS12SQ | Control room building- Meeting Room | 4.4 | 9.1872 | R410A | hermetically-sealed systems, fixed systems
EQ 86 | LG ARUN100LSS0 | Control room building-Control Room | 4.5 | 9.396 | R410A | hermetically-sealed systems, fixed systems
EQ 87 | LG ARUN100LSS0 | Control room building-Control Room | 4.5 | 9.396 | R410A | hermetically-sealed systems, fixed systems
EQ 88 | LG ARUN100LSS0 | Control room building-Control Room | 4.5 | 9.396 | R410A | hermetically-sealed systems, fixed systems
EQ 89 | LG ARUN100LSS0 | Control room building-Control Room | 4.5 | 9.396 | R410A | hermetically-sealed systems, fixed systems
EQ 90 | LG ASNW186CRR4 | Jetty | 1.35 | 2.8188 | R410A | hermetically-sealed systems, fixed systems
EQ 91 | LG ASNW186CRR4 | Jetty | 1.35 | 2.8188 | R410A | hermetically-sealed systems, fixed systems
EQ 92 | Panasonic CS-Z50TKEA | RTU | 1.15 | 0.77625 | R-32 | hermetically-sealed systems, fixed systems
EQ 93 | Chigo-KFR-53IW/X1C-M | RTU | 1.35 | 2.8188 | R410A | hermetically-sealed systems, fixed systems
EQ 94 | TCL TAC-09CHSA/AKI | GRS3 | 0.75 | 1.566 | R410A | hermetically-sealed systems, fixed systems
EQ 95 | HaierAS35TABHRA | Electrical workshop | 1.6 | 1.08 | R-32 | hermetically-sealed systems, fixed systems
EQ 96 | HaierAS35TABHRA | Mechanical workshop | 0.8 | 0.54 | R-32 | hermetically-sealed systems, fixed systems
EQ 97 | HSK5353-35-40P | No.1 AIR COND.PLANT (A) | 56 | 177.4 | R407C | fixed system
EQ 98 | HSK5353-35-40P | No.1 AIR COND.PLANT (B)
EQ 99 | HSK5353-35-40P | No.2 AIR COND.PLANT (A) | 56 | 177.4 | R407C | fixed system
EQ 100 | HSK5353-35-40P | No.2 AIR COND.PLANT (B)
EQ 101 | 4HE-18Y-40P | No.1 Provision Refrig.Plant | 28 | 109.816 | R404A | fixed system
EQ 102 | 4HE-18Y-40P | No.2 Provision Refrig.Plant | 28 | 109.816 | R404A | fixed system
EQ 103 | LPI-12500 | IGG REF. PLANT | 100 | 177.4 | R407C | fixed system
EQ 104 | US5GE | Package aircon-No.1 ECR | 3.5 | 6.209 | R407C | hermetically-sealed system
EQ 105 | USP5HR1 | Package aircon-No.2 ECR | 3.5 | 13.727 | R404A | hermetically-sealed system
EQ 106 | USP8HR1 | Package aircon-Workshop | 5 | 19.61 | R404A | hermetically-sealed system
EQ 107 | US5GE | Package aircon-CCR | 3.5 | 6.209 | R407C | hermetically-sealed system
EQ 108 | FM C 520 | Marine Chiller Cabinet | 0.25 | 0.3575 | R134A | hermetically-sealed system
EQ 109 | FM C 722 E | Marine Chiller Cabinet | 0.375 | 0.53625 | R134A | hermetically-sealed system
EQ 110 | EXTRA12.2P | Marine Juice Cooler-No.1 (2x12L) | 0.136 | 0.19448 | R134A | hermetically-sealed system
EQ 111 | EXTRA12.2P | Marine Juice Cooler-No.2 (2x12L) | 0.136 | 0.19448 | R134A | hermetically-sealed system
EQ 112 | ACM 126 AS | Marine Ice Cube Machine | 0.45 | 0.6435 | R134A | hermetically-sealed system
EQ 113 | BR-40A | Refrigerator Cabin B2 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 114 | DRF - B0759 / B0459 | Refrigerator Cabin B6 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 115 | OR-891 | Refrigerator Cabin B7 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 116 | BR-40A | Refrigerator Cabin B8 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 117 | NR-B14BA | Refrigerator Cabin B9 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 118 | OR-891 | Refrigerator Cabin B12 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 119 | BR-40A | Refrigerator Cabin B14 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 120 | OR-891 | Refrigerator Cabin B15 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 121 | BR-40A | Refrigerator Cabin C2 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 122 | FR - A083JW | Refrigerator Smoke Rm | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 123 | NR-47K-X MRKK | Refrigerator Hospital | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 124 | BR-40A | Refrigerator Cabin D1 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 125 | BR-40A | Refrigerator Cabin D2 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 126 | BR-40 | Refrigerator Cabin D3 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 127 | NR-B8TA | Refrigerator Cabin D4 | 0.048 | 0.06864 | R134A | hermetically-sealed system
EQ 128 | R600a | Refrigerator Cabin D5 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 129 | OR-891 | Refrigerator Cabin D6 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 130 | FR-A0383JW | Refrigerator Cabin D7 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 131 | OR-891 | Refrigerator Cabin D8 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 132 | NR-B121J-A | Refrigerator Cabin E1 | 0.048 | 0.06864 | R134A | hermetically-sealed system
EQ 133 | OR-891 | Refrigerator Cabin E2 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 134 | BR-40 A | Refrigerator Cabin E4 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 135 | OR-891 | Refrigerator Cabin F3 | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 136 | OR-051 | Refrigerator CCR Masters Off | 0.038 | 0.05434 | R134A | hermetically-sealed system
EQ 137 | SB35C66GA00 | Refrigerator CCR Pantry | 0.048 | 0.06864 | R134A | hermetically-sealed system
EQ 138 | SR - 17NF(W) | Refrigerator ECR | 0.095 | 0.13585 | R134A | hermetically-sealed system
EQ 139 | DREW 964555 | ER 2nd DK STBD | 28.81 | 112.9928 | R404A | Bottle
EQ 140 | DREW 92018421 | ER 2nd DK STBD | 26.2 | 102.7564 | R404A | Bottle
EQ 141 | DREW OO1301 | ER 2nd DK STBD | 26.8 | 105.1096 | R404A | Bottle
EQ 142 | DREW 92020262 | ER 2nd DK STBD | 27.5 | 107.855 | R404A | Bottle
EQ 143 | KALTON | ER 2nd DK STBD | 3 | 11.766 | R404A | Bottle
EQ 144 | KALTON | ER 2nd DK STBD | 3 | 11.766 | R404A | Bottle
EQ 145 | UNITOR 6155920 | ER 2nd DK STBD | 9.5 | 37.259 | R404A | Bottle
EQ 146 | UNITOR 6146197 | ER 2nd DK STBD | Empty | Empty | R404A | Bottle
EQ 147 | UNITOR 6155829 | ER 2nd DK STBD | 7.5 | 29.415 | R404A | Bottle
EQ 148 | UNITOR 6155816 | ER 2nd DK STBD | 9.5 | 37.259 | R404A | Bottle
EQ 149 | UNITOR 6109624 | IGG Room | 30.1 | 118.0522 | R404A | Bottle
EQ 150 | UNITOR 6086753 | IGG Room | Empty | Empty | R404A | Bottle
EQ 151 | UNITOR 6121016 | IGG Room | 30.5 | 119.621 | R404A | Bottle
EQ 152 | UNITOR 6157209 | ER 2nd DK STBD | 8.7 | 15.4338 | R407C | Bottle
EQ 153 | UNITOR 6151193 | ER 2nd DK STBD | 9.5 | 16.853 | R407C | Bottle
EQ 154 | UNITOR 6157140 | ER 2nd DK STBD | 8.7 | 15.4338 | R407C | Bottle
EQ 155 | UNITOR 6157071 | ER 2nd DK STBD | 8.7 | 15.4338 | R407C | Bottle
EQ 156 | UNITOR 6079011 | IGG Room | 54.8 | 97.2152 | R407C | Bottle
EQ 157 | UNITOR 6122377 | IGG Room | 54.1 | 95.9734 | R407C | Bottle
EQ 158 | UNITOR 950482 | IGG Room | 52 | 92.248 | R407C | Bottle
EQ 159 | UNITOR 931588 | IGG Room | 49 | 86.926 | R407C | Bottle
EQ 160 | UNITOR 6078863 | IGG Room | 52 | 92.248 | R407C | Bottle

## SF6 - 2020
SF6 Register - Year 2019
|  | 2.0 | 3.1 | 3.2 | 4.0 | 5.0 | 6.1.1 | 6.1.2 | 6.1.3 | 6.2.1. | 6.2.2. | 6.2.3 | 6.2.4. | 6.2.5 | 6.2.6. | 6.3.1. | 6.3.2.
|  | Type of Gas | Sealed Pressure System | Closed Pressure System | Total Name-plate Capacity | Country of Manufacture | Date of Installation | Filling during Installation | Any Emissions recorded during installation | Any Leaks recorded | Any Maintenance | Amount of Gas Handled | Equipment Failure | Changes/ Upgrades | Amount of Gas Topped Up | Any Disposal of Equipment | Amount of Gas Recovered Following Disposal
Serial Number | Description | SF6/PFC | Yes/No | Yes/No | kg |  |  | On-site/Off-site | Yes/No | Yes/No | Yes/No | kg | Yes/No | Yes/No | kg | Yes/No | kg
D4 - SPARE BOTTLES
9693771 | Compressed Bottle | SF6 | No | Yes | 50 Half bottle | Germany | N/A | N/A | No | No | No | 0 | No | No | 0 | No | 0
9693885 | Compressed Bottle | SF6 | No | Yes | 50 | Germany | N/A | N/A | No | No | No | 0 | No | No | 0 | No | 0
9693880 | Compressed Bottle | SF6 | No | Yes | 50 | Germany | N/A | N/A | No | No | No | 0 | No | No | 0 | No | 0
D4 - EQUIPMENT
50AEA15 15/K31269441 | Switch Gear | SF6 | No | Yes | 103 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA14 15/K31269440 | Switch Gear | SF6 | No | Yes | 83 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA13 15/K31269439 | Switch Gear | SF6 | No | Yes | 95 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA12 15/K31269438 | Switch Gear | SF6 | No | Yes | 102 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
T15/Q61 15/145302 | Bus Bar Chamber | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA15 T5/Q6 15/145301 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA14 T5/Q6 15/145300 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA13 T5/Q6 15/145299 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA12 T5/Q6 15/145298 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
D4 - FSU
SI-2016-W01-1-0001 | RM-6 | SF6 | yes | No | 2.12 | France | 2016 | off-site | no | no | No | 0 | No | No | 0 | No | 0
SI-2016-W01-1-0002 | RM-6 | SF6 | yes | No | 2.12 | France | 2016 | off-site | no | no | No | 0 | No | No | 0 | No | 0

## SF6 - 2019
SF6 Register - Year 2019
|  | 2.0 | 3.1 | 3.2 | 4.0 | 5.0 | 6.1.1 | 6.1.2 | 6.1.3 | 6.2.1. | 6.2.2. | 6.2.3 | 6.2.4. | 6.2.5 | 6.2.6. | 6.3.1. | 6.3.2.
|  | Type of Gas | Sealed Pressure System | Closed Pressure System | Total Name-plate Capacity | Country of Manufacture | Date of Installation | Filling during Installation | Any Emissions recorded during installation | Any Leaks recorded | Any Maintenance | Amount of Gas Handled | Equipment Failure | Changes/ Upgrades | Amount of Gas Topped Up | Any Disposal of Equipment | Amount of Gas Recovered Following Disposal
Serial Number | Description | SF6/PFC | Yes/No | Yes/No | kg |  |  | On-site/Off-site | Yes/No | Yes/No | Yes/No | kg | Yes/No | Yes/No | kg | Yes/No | kg
D4 - SPARE BOTTLES
9693771 | Compressed Bottle | SF6 | No | Yes | 50 Half bottle | Germany | N/A | N/A | No | No | No | 0 | No | No | 0 | No | 0
9693885 | Compressed Bottle | SF6 | No | Yes | 50 | Germany | N/A | N/A | No | No | No | 0 | No | No | 0 | No | 0
9693880 | Compressed Bottle | SF6 | No | Yes | 50 | Germany | N/A | N/A | No | No | No | 0 | No | No | 0 | No | 0
D4 - EQUIPMENT
50AEA15 15/K31269441 | Switch Gear | SF6 | No | Yes | 103 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA14 15/K31269440 | Switch Gear | SF6 | No | Yes | 83 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA13 15/K31269439 | Switch Gear | SF6 | No | Yes | 95 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA12 15/K31269438 | Switch Gear | SF6 | No | Yes | 102 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
T15/Q61 15/145302 | Bus Bar Chamber | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA15 T5/Q6 15/145301 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA14 T5/Q6 15/145300 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA13 T5/Q6 15/145299 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
50AEA12 T5/Q6 15/145298 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | 2016 | on site | No | No | No | 0 | No | No | 0 | No | 0
D4 - FSU
SI-2016-W01-1-0001 | RM-6 | SF6 | yes | No | 2.12 | France | 2016 | off-site | no | no | No | 0 | No | No | 0 | No | 0
SI-2016-W01-1-0002 | RM-6 | SF6 | yes | No | 2.12 | France | 2016 | off-site | no | no | No | 0 | No | No | 0 | No | 0

## SF6 2018
Serial Number | Description | 2.0 | 3.1 | 3.2 | 4.0 | 5.0 | 6.1.1 | 6.1.2 | 6.1.3 | 6.2.1. | 6.2.2. | 6.2.3 | 6.2.4. | 6.2.5 | 6.2.6. | 6.3.1. | 6.3.2.
|  | Type of Gas | Sealed Pressure System | Closed Pressure System | Total Name-plate Capacity | Country of Manufacture | Date of Installation | Filling during Installation | Any Emissions recorded during installation | Any Leaks recorded | Any Maintenance | Amount of Gas Handled | Equipment Failure | Changes/ Upgrades | Amount of Gas Topped Up | Any Disposal of Equipment | Amount of Gas Recovered Following Disposal
|  | SF6/PFC | Yes/No | Yes/No | kg |  |  | On-site/Off-site | Yes/No | Yes/No | Yes/No | kg | Yes/No | Yes/No | kg | Yes/No | kg
D4 - Spare Bottles
9693771 | Compressed Bottle | SF6 | No | Yes | 50 Half bottle | Germany | 2016-05-01 | Unknown | No | No | No | 0 | No | No | 0 | No | 0
9693885 | Compressed Bottle | SF6 | No | Yes | 50 | Germany | 2016-05-01 | Unknown | No | No | No | 0 | No | No | 0 | No | 0
9693880 | Compressed Bottle | SF6 | No | Yes | 50 | Germany | 2016-05-01 | Unknown | No | No | No | 0 | No | No | 0 | No | 0
D4 - Equipment
50AEA15 15/K31269441 | Switch Gear | SF6 | No | Yes | 103 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
50AEA14 15/K31269440 | Switch Gear | SF6 | No | Yes | 83 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
50AEA13 15/K31269439 | Switch Gear | SF6 | No | Yes | 95 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
50AEA12 15/K31269438 | Switch Gear | SF6 | No | Yes | 102 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
T15/Q61 15/145302 | Bus Bar Chamber | SF6 | No | Yes | 14.9 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
50AEA15 T5/Q6 15/145301 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
50AEA14 T5/Q6 15/145300 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
50AEA13 T5/Q6 15/145299 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
50AEA12 T5/Q6 15/145298 | Switch Gear | SF6 | No | Yes | 14.9 | Germany | Unknown | Unknown | No | No | No | 0 | No | No | 0 | No | 0
FSU - Equipment
SI-2016-W01-1-0001 | RM-6 | SF6 | yes | no | 2.12 | France | Y 2016 | off-site | no | no | no | na | no | no | no | no | no
SI-2016-W01-1-0002 | RM-6 | SF6 | yes | no | 2.12 | France | Y 2016 | off-site | no | no | no | na | no | no | no | no | no