## CP1
CCGT Emergency Diesel Generator
Exhaust Gas Flow | 183 | m3/min | At standby power
Average yearly operating hours (2018 & 2019) | 100.5 | hr
Average yearly operating minutes (2018 & 2019) | 2412 | min
Yearly gas volume | 441396 | m3/year