## CP6
Inert Gas Generator
Exhaust Gas Flow | 6500 | Nm3/hr | at 50% load
Average yearly operating hours (2018 & 2019) | 1.5 | hr
Yearly gas volume | 9750 | Nm3/year