## porte rei
Sterling Chemical Malta LTD |  | FIRST AID AND FIRE FIGHTING DEVICES |  |  |  | MMS_4.5.1-G
Rev. 00
Issue date: 18/07/2013
Numero | Locale |  | Numero locale | Piano | Data controllo | Responsabile del controllo | Firma
Number | Room |  | Room number | Floor | Date of check | Check responsible | Signature
02-D01 | Switch room |  | 2 | B
03-D02 | Reception lobby |  | 3 | B
11-FD01 | Corridor |  | 11 | 1
16-FD02 | Canteen |  | 16 | 1
21-D01 | Production corridor |  | 21 | 1
22-D01 | RD office |  | 22 | 1
23-D01 | Laboratory |  | 23 | 1
29-D01 | Pilot area set up |  | 29 | 1
29-D03 | Pilot area set up |  | 29 | 1
30-D03 | Pilot production |  | 30 | 1
35-D01 | Production stairwell |  | 35 | 1
36-D01 | Mainteinance |  | 36 | 1
38-D01 | Scrubber |  | 38 | 2
41-D01 | RD office |  | 41 | 3
43-D01 | RD laboratory |  | 43 | 3
43-D02 | RD laboratory |  | 43 | 3
45-D01 | Utility plant area |  | 45 | 3
45-D02 | Utility plant area |  | 45 | 3
46-D01 | Mainteinance office |  | 46 | 3
47-D01 | Office |  | 47 | 3

## Estintori
Sterling Chemical Malta LTD |  |  |  | FIRST AID AND FIRE FIGHTING DEVICES |  |  |  |  | MMS_4.5.1-G
Rev. 00
Issue date: 18/07/2013
Numero | Tipo | Estinguente | Peso | Classe | Locale | Numero locale | Piano | Data controllo | Responsabile del controllo | Firma
Number | Type | Extinguisher | Weight | Class | Room | Room number | Floor | Date of check | Check responsible | Signature
1 | Wheeled | Powder | 9 | 233BC | Administration | 14 | 1
2 | Wheeled | Powder | 9 | 233BC | Administration | 14 | 1
3 | Portable | Foam | 9 | 21A233B | Administration | 14 | 1
| Portable | Powder | 5 | 89B | Administration | 14 | 1
| Portable | CO2 | 9 | 233BC | Administration | 14 | 1
4 | Portable | Foam | 9 | 21A233B | Canteen | 16 | 1
| Portable | Powder | 5 | 89B | Canteen | 16 | 1
| Portable | CO2 | 9 | 233BC | Canteen | 16 | 1
5 | Portable | Powder | 9 | 233BC | Pilot area set up | 29 | 1
6 | Portable | Powder | 9 | 233BC | Pilot production | 30 | 1
7 | Portable | Powder | 9 | 233BC | Raw material warehouse | 32 | 1
8 | Portable | Foam | 9 | 21A233B | Exit | 4 | B
|  | Powder | 5 | 89B
|  | CO2 | 9 | 233BC
9 | Portable | Foam | 9 | 21A233B | Parking area 4 | 4 | B
|  | Powder | 5 | 89B
|  | CO2 | 9 | 233BC
10 | Portable | Foam | 9 | 21A233B | Parking area 5 | 5 | B
|  | Powder | 5 | 89B
|  | CO2 | 9 | 233BC
11 | Portable | Powder | 9 | 233BC | Minteinance | 36 | 1
39 | Wheeled | Powder | 50 | AB1C | External area |  | 1
95 | Wheeled | Powder | 50 | AB1C | Pilot area set up | 29 | 1
98 | Wheeled | Powder | 50 | AB1C | Pilot production | 30 | 1

## idranti
Sterling Chemical Malta LTD |  | FIRST AID AND FIRE FIGHTING DEVICES |  |  |  | MMS_4.5.1-G
Rev. 00
Issue date: 18/07/2013
Numero | Locale |  | Numero locale | Piano | Data controllo | Responsabile del controllo | Firma
Number | Room |  | Room number | Floor | Date of check | Check responsible | Signature
1 | Exit |  | 4 | B
2 | Parking area 4 |  | 4 | B
3 | Parking area 5 |  | 5 | B
4 | External (production and warehouse side) |  | - | 1
5 | External (production and warehouse side) |  | - | 1
6 | External (production and warehouse side) |  | - | 1
7 | External (production and warehouse side) |  | - | 1
8 | External (boiler room side) |  | - | 1
9 | External (boiler room side) |  | - | 1
10 | External (boiler room side) |  | - | 1
11 | External (boiler room side) |  | - | 1

## Armadi antincendio
Sterling Chemical Malta LTD |  | FIRST AID AND FIRE FIGHTING DEVICES |  |  | MMS_4.5.1-G
Rev. 00
Issue date: 18/07/2013
Armadio | Contenuto |  | Numero | Data controllo | Responsabile del controllo | Firma
Cabinet | Contents |  | Number | Date of check | Check responsible | Signature
1 | Helmet |  | 3
| Gloves |  | 3
| Leather belt |  | 3
| Breathing apparatus |  | 1
| Rope |  | 1
| Mask |  | 3
2 | Flame retardant jacket |  | 2
| Flashlight |  | 1
| Megaphone |  | 1
| First aid kit (expiry date sept-2014) |  | 1
| Hatchet |  | 1
| Fire esxtinguisher (powder) |  | 3

## Pulsanti di allarme
Sterling Chemical Malta LTD |  | FIRST AID AND FIRE FIGHTING DEVICES |  |  |  | MMS_4.5.1-G
Rev. 00
Issue date: 18/07/2013
Numero | Locale |  | Numero locale | Piano | Data controllo | Responsabile del controllo | Firma
Number | Room |  | Room number | Floor | Date of check | Check responsible | Signature
1 | Scrubber corridor |  | 39 | 2
3 | Lobby |  | 3 | B
8 | Exit |  | 4 | B
9 | RD corridor |  | 42 | 3
15 | Administration corridor |  | 11 | 1
15 | Parking area |  | 4 | B
16 | Laboratory corridor |  | 21 | 1
25 | Parking area |  | 5 | B
29 | Pilot area set up |  | 29 | 1
30 | Pilot production |  | 30 | 1
35 | Mainteinance corridor |  | 35 | 3
37 | Stairwels to second floor |  | 37 | 2
40 | Warehouse corridor |  | 32 | 1
46 | Mainteinace |  | 36 | 1
47 | Warehouse corridor |  | 32 | 1
60 | Production corridor |  | 21 | 1
91 | Front desk |  | 15 | 1

## Docce lavaocchi
Sterling Chemical Malta LTD |  |  | FIRST AID AND FIRE FIGHTING DEVICES |  |  |  |  | MMS_4.5.1-G
Rev. 00
Issue date: 18/07/2013
Tipologia | Numero | Locale |  | Numero locale | Piano | Scadenza | Data controllo | Responsabile del controllo | Firma
Type | Number | Room |  | Room number | Floor | Expiry date | Date of check | Check responsible | Signature
Doccia | - | Sampling room |  | 34 | 1 | -
Doccia | - | Pilot production |  | 30 | 1 | -
Firts aid kit | 1 | Laboratory |  | 23 | 1 | 2015-09-01
Firts aid kit | 2 | Pilot production |  | 30 | 1 | 2015-09-01
Eyewash kit | 1 | Laboratory |  | 23 | 1 | 2015-04-01
Eyewash kit | 2 | Pilot production |  | 30 | 1 | 2015-04-01